Description of Premises

The memorial Hall is made up as follows:

- A single storey, pantile red roofed kitchen and former scullery area.

- A two storey pebble dashed addition with an upstairs function Room (British Legion) and a bar/supper room.

- The original stone chapel consists of an upstairs meeting room (the Library), a high ceiling main hall with stage and a large basement.

- A 1960s single storey felt flat roofed lavatory block extension with a ladies, gents and disabled toilet as well as a small lobby forming the principal entrance to the building.

The main access to the whole site is through double doors off Castle Street, which leads through a covered passageway. This opens onto a concrete path running past a kitchen garden on the right. On the left is a single door to the kitchen passage with the kitchen through a door to the left and a cupboard room on the right. Straight ahead are stairs leading to the British Legion room. If you continue down the concrete path you come to a double door, normally locked, to the Supper Room. Following the path around you reach the main entrance (for Foyer, Main Hall and toilets) – a set of double doors opened by key from the outside or emergency push bar from the inside. The concrete path continues around the side of the toilet block to a large garden area comprising several allotments. The path slopes down to a gate providing access to the Ember Path, across which are further Hall allotments.

Principle Use of the Hall

The Hall is hired by a range of organisations and individuals for a variety of activities, some of which are licensable. Anyone booking the Hall must agree to the ‘Conditions of Hire’. These note the health and safety and licensing obligations that the booking places upon them. Hirers should make themselves aware of the layout of the hall and the location of fire alarms, fire extinguishers and fire exits. Detailed laminated plans are displayed in each room. It is the responsibility of all hirers to ensure the hall is securely locked after use. The building should never be left open and unoccupied.

Further to above, the Committee utilise local trades people for the purposes of cleaning, safety checks and building maintenance.

Vulnerable Persons

It is the responsibility of the hirer to ensure that vulnerable persons are given adequate assistance in the event of an evacuation. Appropriate supervision of children must be given at all times. The Hall has a vulnerable persons policy available on the vestibule notice board and on the web site.

Logging Accidents and Other Problems

An ‘Accident Book’ is available on the mantel piece, in the kitchen – next to the 1st aid kit.  Along with this are some ‘Snags’ slips for reporting any other problems encountered.

N.B. This risk assessment must be reviewed annually, or earlier in the event of changes that may affect risk or following an incident

| Equipment/ Risk Area | Possible Hazards |  | Action | Responsibility | Last Actioned |  | Due Date |
| --- | --- | --- | --- | --- | --- | --- | --- |
| All areas | Trip/Fall Hazards |  | Ongoing need to ensure stairs, hand rails, floors, carpets and lighting are well maintained. | All users to log issues on Snags slips | Ongoing |  | n/a |
| All areas - Equipment (Condition) | Wear and tear |  | Ongoing need to identify any potential problems. | All users – to log issues in Snags book | Ongoing |  | n/a |
| Kitchen | Access Cleaning materials Cooker |  | To minimise risk, children (under 16s) are not permitted in the kitchen without adult supervision Hazardous materials, such as bleach and cleaning materials, must be stored out of the reach of children Care must be taken when the cooker is in use to avoid the risk of burns | All users | Ongoing |  | n/a |
| Storage | Unsafe Storage |  | To minimise risk of falling objects, care must be taken if storing items on higher shelves or on top of cupboards. Hazardous materials must be stored out of the reach of children To minimise fire risk flammable materials (Paint, paper, wood..) should not be stored near potential sources of ignition. Storage must not restrict access to emergency exits. | All users – to log problems in Snags book | Ongoing |  | n/a |
| Storage | Unsafe handling |  | To avoid lifting hazards, heavy items should be stored at roughly elbow height, not at floor level. | All users | Ongoing |  | n/a |
| Heating Systems | Waste of energy. |  | Prior to vacating building, heating systems should be turned off. | All users. | Ongoing |  | n/a |
| Equipment/ Risk Area | Possible Hazards |  | Action | Responsibility | Last Actioned |  | Due Date |
| All areas | Personal injury |  | Maintenance work and all other tasks must not be carried out unless individuals are competent and confident in their ability to do them safely. | All users. Log accidents in accidents book for review. | Ongoing |  | n/a |
| Basement and Stage | Personal Injury | These areas should be well managed to maintain a safe environment. Use of equipment should be limited to individuals with appropriate skills. Particular care should be taken to avoid the low beams in certain areas. |  | Drama Group | Ongoing | n/a |  |
| Spotlights, Stage Lights & Curtains, and the 3 edges of stage. | Personal Injury | These should be checked regularly to ensure fittings are sound, equipment is in working order and risk of falls is minimised. |  | Drama Group | Ongoing | As part of regular productions. |  |
| Basement hatch | Personal injury | The hatch is heavy and must only be used by experienced personnel. Particular care must be taken when operating and when open to avoid falls. |  | Drama Group/Hall Chairman | Ongoing | n/a |  |
| CO Detectors | Device/Battery Failure | Regular test |  | Chairman | Ongoing | Monthly |  |
| Fire Alarm System | Device Failure | Self-monitored with annual inspection/maintenance by professional accredited service provider |  | Chairman | Jan 2025 | Jan 2026 |  |
| Emergency Lighting | Device/Battery Failure | Regular test (Includes checking basement fire door – door opens and access is not blocked) |  | Chairman | Ongoing | Monthly |  |
| Fire Extinguishers | Device Failure | Annual Professional Check |  | Chairman | June 2024 | June 2025 |  |
| Gas Boiler & Fires | Risk of Gas leak or Carbon Monoxide emission. | Annual Gas Service & Safety Check. Display related Certificate. |  | Chairman | July 2024 | 5/7/2025 |  |
| Equipment/ Risk Area | Possible Hazards | Action |  | Responsibility | Last Actioned | Due Date |  |
| Electrical Equipment | Failing/unsafe equipment. Fire risk if faulty | 1.Annual PAT testing by NNVHC 2. Professional inspection every 5 years (or as advised at inspection) |  | Chairman | Sept 2024 Jan 2021 | October 2025 January 2026 |  |
| Ladders | Personal injury | Ladders to be checked prior to use to ensure they are in safe condition with no loose components. Ladders taller than head height should only be used when a second person is present. |  | All users | Ongoing | n/a |  |
| All areas | Unidentified risks | Review of Risk Assessment document following a site inspection by 2 Trustees, with particular reference to trip hazards, unsafe storage and emergency exits. |  | Chairman | August 2024 | August 2025 |  |

Actions Previously Taken to Reduce Risk

March 2012 – Hall re-wired and emergency lighting installed.

January 2024 -Fire alarm replaced with extended coverage. Self monitoring system.

Main Hall - Chairs: Notice displayed to limit stacking to 2 chairs – to reduce danger of toppling.

Main Hall - Tables: Lightweight, easy to assemble to minimise manual handling issues. Purchase of storage trolleys to facilitate handling and safe storage.

Main Hall - Double exit door glass panels have been replaced with safety glass to minimise potential breakage problems.

Stage Area – 4 steps up to side of stage securely fixed with metal rail.

Kitchen Area – Notice to ensure all users are aware of safe working procedures and how to cope with an oil fire plus basic first aid notice.

RBL Stairway – No longer used for storage, avoiding potential obstruction during emergency evacuation.

RBL Stairway – Coloured tape fixed to beam to highlight danger of low ceiling.

Ground Floor Toilets – Wall heaters removed to avoid fire risk.

External – Salt bin provided for treating external path when frozen over. There is no regular maintenance and responsibility for use is with Hall users.

External Lighting – 2018: Two new sensors fitted 2018, Lights fitted with long lasting LED bulbs, a solar powered sensor/light fitted near main entrance to provide some external light in the event of lamp/electricity failure.

External – Drain next to Supper Room external doors: adjusted to run directly in to soil pipe to minimise potential for overflow causing ice problems.

Toilets – Fitted with emergency lights to minimise problems on loss of electrical power.

Disabled Toilet – Alarm fitted so that occupant can raise alarm in case of difficulty.

Supper Room – Socket that was too close to radiator has been blocked off

Kitchen & Basement – Notice on door to say no unsupervised children.